## 10_Italian_GDP_Growth_Rate
GDP Growth Rate (%) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 0.004166 | 0.0060135 | 0.0060135 | 0.0060135 | 0.0060135 | 0.0060135 | 0.008 | 0.01 | 0.01 | 0.01 | 0.012 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013
Reference | 0.0090511 | 0.011 | 0.012 | 0.012 | 0.012 | 0.012 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013 | 0.013
High RES | 0.011825 | 0.01597 | 0.016 | 0.016 | 0.016 | 0.016 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015 | 0.015

## 11_Inflation_rate
Inflation Rate (%) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference | 0.018 | 0.018 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02

## 12_World_LNG_Demand
World LNG Demand-Supply Balance (Bcm NG/quarter) | Existing | Under Construction | Uncertain | Historical Demand | Demand - Reference Scenario | Demand - High Scenario | Demand - Low Scenario
Q1-15 | 95.228 | 0 | 0 | 82.6408
Q2-15 | 95.5912 | 0 | 0 | 78.6784
Q3-15 | 96.8159 | 0 | 0 | 85.4931
Q4-15 | 98.0405 | 0 | 0 | 88.0298
Q1-16 | 100.1014 | 0 | 0 | 89.3057
Q2-16 | 102.8716 | 0 | 0 | 84.9177
Q3-16 | 104.7804 | 0 | 0 | 91.1698
Q4-16 | 107.5084 | 0 | 0 | 95.8201
Q1-17 | 110.2618 | 0 | 0 | 100.0001
Q2-17 | 112.3057 | 0 | 0 | 94.1485
Q3-17 | 114.3497 | 0 | 0 | 101.34
Q4-17 | 117.7998 | 0 | 0 | 103.259
Q1-18 | 117.0411 | 0 | 0 | 109.0071
Q2-18 | 115.0113 | 0 | 0 | 100.708
Q3-18 | 116.9355 | 0 | 0 | 108.2319
Q4-18 | 121.3176 | 0 | 0 | 119.3636
Q1-19 | 123.5988 | 0 | 0 | 120.4618
Q2-19 | 125.3585 | 0 | 0 | 118.0723
Q3-19 | 128.0818 | 0 | 0 | 120.125
Q4-19 | 134.2111 | 0 | 0 | 126.8919
Q1-20 | 135.7809 | 0 | 0 | 133.4237
Q2-20 | 127.9932 | 0 | 0 | 117.6207
Q3-20 | 129.8033 | 0 | 0 | 115.6757
Q4-20 | 132.323 | 0 | 0 | 127.6621
Q1-21 | 137.3512 | 0 | 0 | 134.811
Q2-21 | 137.5427 | 0 | 0 | 127.8551
Q3-21 | 141.5715 | 0 | 0 | 125.5078
Q4-21 | 144.5923 | 0 | 0 | 136.0669
Q1-22 | 145.6087 | 0 | 0 | 144.1686
Q2-22 | 145.9334 | 0 | 0 | 135.508
Q3-22 | 147.9116 | 0 | 0 | 134.4109
Q4-22 | 149.3953 | 0 | 0 | 140.2461 | 140.2461 | 140.2461 | 140.2461
Q1-23 | 155.5693 | 0.04223 | 0 |  | 138.9427 | 147.1469 | 143.3036
Q2-23 | 156.8277 | 0.40541 | 0 |  | 137.1341 | 139.3721 | 134.695
Q3-23 | 157.1149 | 0.76858 | 0 |  | 132.4877 | 134.6455 | 133.6044
Q4-23 | 157.1149 | 1.9003 | 0 |  | 144.9677 | 151.7092 | 135.7325
Q1-24 | 157.1149 | 5.6757 | 0 |  | 151.8518 | 160.3064 | 148.3082
Q2-24 | 157.1149 | 9.1301 | 0 |  | 148.4299 | 150.7277 | 140.8507
Q3-24 | 157.1149 | 12.5845 | 0 |  | 143.1722 | 145.3812 | 139.2392
Q4-24 | 157.1149 | 15.2703 | 0 |  | 160.3059 | 167.6018 | 139.8743
Q1-25 | 157.1149 | 21.1655 | 0.92905 |  | 157.8264 | 166.759 | 150.5328
Q2-25 | 157.1149 | 27.0608 | 1.8581 |  | 149.9142 | 152.2491 | 142.9634
Q3-25 | 157.1149 | 32.9561 | 2.7872 |  | 144.604 | 146.8487 | 141.3278
Q4-25 | 157.1149 | 38.8514 | 3.7162 |  | 161.909 | 169.301 | 141.9724

## 12_TTF_Price
TTF Price (€/MWh GCV) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 57.2639 | 55.9583 | 54.0833 | 54.0333 | 53.7583 | 53.7583 | 53.55 | 52.5 | 51.45 | 50.875 | 49.825 | 48.775 | 47.725 | 46.675 | 45.6 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55
Reference | 41.3535 | 33.0119 | 28.6519 | 26.5451 | 26.2909 | 26.2947 | 26.2692 | 26.1438 | 25.9183 | 25.7928 | 25.6673 | 25.5418 | 25.4163 | 25.2908 | 25.1653 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714
High RES | 28.2168 | 16.5315 | 13.7598 | 12.7598 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406

## 14_Spread_TTF_PSV
Spread PSV-TTF (€/MWh GCV) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
TTF | 41.3535 | 33.0119 | 28.6519 | 26.5451 | 26.2909 | 26.2947 | 26.2692 | 26.1438 | 25.9183 | 25.7928 | 25.6673 | 25.5418 | 25.4163 | 25.2908 | 25.1653 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714
PSV | 43.2759 | 34.6206 | 30.2019 | 27.9779 | 27.5042 | 27.2946 | 27.1023 | 26.8601 | 26.2678 | 25.7928 | 25.6673 | 25.5418 | 25.4163 | 25.2908 | 25.1653 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714
Spread PSV-TTF | 1.9225 | 1.6087 | 1.55 | 1.4328 | 1.2133 | 0.99983 | 0.83308 | 0.71633 | 0.34957 | 1.3475e-09 | 1.2962e-10 | 1.5076e-09 | -3.5915e-10 | -2.7907e-10 | 1.7479e-09 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11 | 3.3239e-11

## 15_PSV_Price
PSV Price (€/MWh GCV) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 36.2702 | 59.9686 | 58.3917 | 55.9833 | 55.7583 | 55.4583 | 55.4917 | 54.775 | 53.725 | 52.35 | 51.475 | 49.825 | 48.775 | 47.725 | 46.675 | 45.6 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55 | 44.55
Reference |  | 43.2759 | 34.6206 | 30.2019 | 27.9779 | 27.5042 | 27.2946 | 27.1023 | 26.8601 | 26.2678 | 25.7928 | 25.6673 | 25.5418 | 25.4163 | 25.2908 | 25.1653 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714 | 25.0714
High RES |  | 29.5163 | 17.8024 | 14.7781 | 13.491 | 11.131 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406 | 10.406

## 16_Italian_Gas_Fired_units
Logistic Costs for Italian Gas-fired Units (€/MWh GCV) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference | 4.2544 | 4.2918 | 4.6827 | 4.0273 | 3.5751 | 3.2204 | 2.4319 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433 | 1.6433

## 17_CO2_Allowances_Price
CO2 Price, EU ETS Mechanism (€/tCO2eq) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES |  | 52.7624 | 48.8848 | 58.6406 | 64.5167 | 66.9405 | 72.2975 | 75.7755 | 78.1711 | 80.0251 | 81.8791 | 83.733 | 85.587 | 87.441 | 89.2949 | 91.1489 | 93.0028 | 95.2508 | 97.2207 | 99.1906 | 101.1605 | 103.1304 | 105.1004 | 107.0703 | 109.0402 | 111.0101 | 112.98
Reference | 65.2735 | 86.0288 | 91.9549 | 107.4323 | 109.7037 | 106.1805 | 107.2975 | 105.7755 | 108.1711 | 110.0251 | 111.8791 | 113.733 | 115.587 | 117.441 | 119.2949 | 121.1489 | 123.0028 | 124.7259 | 126.3911 | 128.0564 | 129.7216 | 131.3868 | 133.0521 | 134.7173 | 136.3825 | 138.0478 | 139.713
High RES |  | 122.3687 | 136.0465 | 135.65 | 139.0352 | 133.5055 | 133.1052 | 135.3774 | 137.6495 | 138.8384 | 140.0272 | 141.2161 | 142.4049 | 143.5938 | 144.7826 | 145.9714 | 147.1603 | 148.7075 | 150.0132 | 151.319 | 152.6247 | 153.9305 | 155.2362 | 156.542 | 157.8477 | 159.1535 | 160.4592

## 19_DAM_Energy_Balance_Refer
DAM Energy Balance, Reference Scenario (TWh) | 2025 | 2030 | 2035 | 2040 | 2050
Demand + storage consumption | 325.0412 | 349.4462 | 372.1245 | 403.4531 | 457.9285
Industrial autoproductions | 18.3805 | 14.2224 | 11.0051 | 8.5153 | 0
Net imports | 52.1204 | 46.4417 | 47.3247 | 47.494 | 47.3363
Hydro - Reservoirs and run-of-river | 45.7956 | 46.6906 | 47.9281 | 49.6343 | 52.2042
Pumped hydro production | 2.2929 | 1.6338 | 2.6106 | 5.7437 | 6.7106
BESS (Battery Energy Storage System) production | 5.2584 | 13.2876 | 18.6645 | 26.9215 | 44.5895
Renewables | 90.6695 | 117.3334 | 149.642 | 191.6932 | 263.3016
Gas-fired thermal plants | 98.8708 | 102.2532 | 92.5385 | 71.1408 | 43.2554
Coal-fired thermal plants | 3.4481 | 0 | 0 | 0 | 0
Other production | 8.1247 | 7.5835 | 2.4111 | 2.3104 | 0.53094

## 20_DAM_Energy_Balance_Low
DAM Energy Balance, High RES Scenario (TWh) | 2025 | 2030 | 2035 | 2040 | 2050
Demand + storage consumption | 330.2004 | 372.2977 | 400.2625 | 444.8247 | 512.8496
Industrial autoproductions | 18.3805 | 14.2225 | 11.0051 | 8.5155 | 0
Net imports | 52.1527 | 46.1331 | 45.9462 | 45.294 | 45.1388
Hydro - Reservoirs and run-of-river | 45.8351 | 46.9525 | 48.3022 | 50.2475 | 52.9132
Pumped hydro production | 2.3452 | 2.9103 | 3.6905 | 7.2348 | 8.8331
BESS (Battery Energy Storage System) production | 5.1885 | 17.789 | 27.8575 | 46.5092 | 67.4149
Renewables | 92.3307 | 146.1831 | 188.509 | 234.0543 | 317.9747
Gas-fired thermal plants | 103.6165 | 90.5358 | 70.8851 | 49.0875 | 20.0439
Coal-fired thermal plants | 2.497 | 0 | 0 | 0 | 0
Other production | 7.8301 | 7.5714 | 4.0669 | 3.8819 | 0.53097

## 21_DAM_Energy_Balance_High
DAM Energy Balance, Low RES Scenario (TWh) | 2025 | 2030 | 2035 | 2040 | 2050
Demand + storage consumption | 321.3773 | 334.5454 | 347.8584 | 363.1529 | 383.9307
Industrial autoproductions | 18.3805 | 14.2225 | 11.0051 | 8.5155 | 0
Net imports | 52.0828 | 46.9592 | 48.2405 | 48.414 | 48.252
Hydro - Reservoirs and run-of-river | 45.8007 | 46.5415 | 47.717 | 48.9972 | 51.1767
Pumped hydro production | 2.3218 | 1.0462 | 1.3488 | 1.7978 | 1.5673
BESS (Battery Energy Storage System) production | 4.995 | 11.5157 | 14.5331 | 18.8037 | 26.538
Renewables | 88.7941 | 99.9029 | 116.351 | 136.4162 | 173.5523
Gas-fired thermal plants | 94.9544 | 104.3242 | 102.3887 | 94.6834 | 82.3135
Coal-fired thermal plants | 5.0334 | 1.9304 | 0 | 0 | 0
Other production | 8.2192 | 8.1027 | 6.2742 | 5.525 | 0.53094

## 22_Electricity_demand
Italian Electricity Demand (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 311.9334 | 313.3979 | 315.2883 | 317.1897 | 319.1018 | 321.024 | 322.94 | 324.856 | 326.772 | 328.688 | 330.604 | 332.52 | 334.436 | 336.3521 | 338.2681 | 340.1841 | 341.4685 | 342.7539 | 344.0403 | 345.3277 | 346.616 | 347.9053 | 349.1956 | 350.4869 | 351.7791 | 353.0723
Reference | 315.3541 | 318.8206 | 322.2871 | 325.7536 | 329.2201 | 332.6865 | 335.6199 | 338.5533 | 341.3617 | 344.1701 | 346.9785 | 349.6619 | 352.3453 | 355.0287 | 357.7121 | 360.3955 | 363.0912 | 365.7891 | 368.4893 | 371.1919 | 373.8967 | 376.6039 | 379.3134 | 382.0253 | 384.7396 | 387.4562
High RES | 320.4287 | 326.5881 | 331.8957 | 337.2033 | 342.5109 | 347.8186 | 353.3116 | 355.6952 | 357.9456 | 360.1944 | 362.4418 | 364.5573 | 366.6719 | 368.7856 | 370.8984 | 373.0102 | 375.109 | 377.2046 | 379.2971 | 381.3865 | 383.4728 | 385.5561 | 387.6362 | 389.7133 | 391.7872 | 393.8582

## 23_E_mobility
Electricity Consumption from Electric Vehicles in 2030 (TWh) | BEV | PHEV
Low RES | 13 | 5
Reference | 4 | 4
High RES | 4 | 4

## 24_Heating_Cooling
Electricity Consumption from Heat Pumps in 2030 (TWh) | Consumption
Low RES | 13
Reference | 4
High RES | 4

## 25_Self_Produc_and_Self_Consum
Self-production, Self-consumption (TWh) and Installed Capacity (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Installed capacity (GW) | 4.6692 | 4.4357 | 4.2139 | 4.0032 | 3.8031 | 3.6129 | 3.4323 | 3.2607 | 3.0976 | 2.9427 | 2.7956 | 2.6558 | 2.523 | 2.3969 | 2.277 | 2.1632
Self-production (TWh) | 18.3805 | 17.4616 | 16.5886 | 15.7591 | 14.9709 | 14.2224 | 13.5114 | 12.8358 | 12.194 | 11.5842 | 11.0051 | 10.4549 | 9.9319 | 9.4354 | 8.9637 | 8.5153
Self-consumption (TWh) | 14 | 14 | 13.5 | 13 | 12 | 11 | 11 | 11 | 10 | 9.7 | 9.5 | 9.3 | 9 | 8.7 | 8.5 | 8
Excess Production Sold on the Market | 4.3805 | 3.4616 | 3.0886 | 2.7591 | 2.9709 | 3.2224 | 2.5114 | 1.8358 | 2.194 | 1.8842 | 1.5051 | 1.1549 | 0.93191 | 0.73544 | 0.46367 | 0.51528

## 26_Zonal_Distribution_Elec_Dem
Zonal Distribution of Electricity Demand, Reference Scenario (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 176.4572 | 178.8188 | 180.7631 | 182.7073 | 184.6516 | 186.5959 | 188.2411 | 189.8864 | 191.4616 | 193.0367 | 194.6119 | 196.117 | 197.622 | 199.1271 | 200.6321 | 202.1372 | 203.6491 | 205.1623 | 206.6768 | 208.1926 | 209.7097 | 211.2281 | 212.7478 | 214.2688 | 215.7912 | 217.3149
Centre-North | 26.9186 | 27.0658 | 27.3601 | 27.6544 | 27.9487 | 28.2429 | 28.492 | 28.741 | 28.9794 | 29.2178 | 29.4562 | 29.684 | 29.9118 | 30.1397 | 30.3675 | 30.5953 | 30.8241 | 31.0531 | 31.2824 | 31.5118 | 31.7414 | 31.9712 | 32.2013 | 32.4315 | 32.6619 | 32.8925
Centre-South | 54.288 | 54.9067 | 55.5037 | 56.1007 | 56.6977 | 57.2947 | 57.7998 | 58.305 | 58.7887 | 59.2723 | 59.756 | 60.2181 | 60.6803 | 61.1424 | 61.6045 | 62.0667 | 62.5309 | 62.9955 | 63.4606 | 63.926 | 64.3918 | 64.858 | 65.3247 | 65.7917 | 66.2591 | 66.727
South | 22.9901 | 23.091 | 23.3421 | 23.5931 | 23.8442 | 24.0953 | 24.3077 | 24.5202 | 24.7236 | 24.927 | 25.1304 | 25.3247 | 25.5191 | 25.7134 | 25.9078 | 26.1021 | 26.2974 | 26.4928 | 26.6883 | 26.8841 | 27.08 | 27.2761 | 27.4723 | 27.6687 | 27.8653 | 28.062
Sardinia | 8.6595 | 8.6762 | 8.7705 | 8.8649 | 8.9592 | 9.0535 | 9.1334 | 9.2132 | 9.2896 | 9.366 | 9.4425 | 9.5155 | 9.5885 | 9.6615 | 9.7346 | 9.8076 | 9.8809 | 9.9544 | 10.0278 | 10.1014 | 10.175 | 10.2487 | 10.3224 | 10.3962 | 10.4701 | 10.544
Sicily | 19.6498 | 19.8209 | 20.0364 | 20.2519 | 20.4674 | 20.6829 | 20.8653 | 21.0477 | 21.2223 | 21.3969 | 21.5715 | 21.7383 | 21.9051 | 22.072 | 22.2388 | 22.4056 | 22.5732 | 22.7409 | 22.9088 | 23.0768 | 23.245 | 23.4133 | 23.5817 | 23.7503 | 23.9191 | 24.088
Calabria | 6.3909 | 6.4412 | 6.5112 | 6.5812 | 6.6513 | 6.7213 | 6.7806 | 6.8398 | 6.8966 | 6.9533 | 7.01 | 7.0643 | 7.1185 | 7.1727 | 7.2269 | 7.2811 | 7.3356 | 7.3901 | 7.4446 | 7.4992 | 7.5539 | 7.6086 | 7.6633 | 7.7181 | 7.7729 | 7.8278

## 27_Net_Import
Net Import (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 52.0828 | 51.9389 | 51.6127 | 51.4721 | 51.0453 | 46.9592 | 47.0432 | 47.2901 | 47.2251 | 47.3152 | 48.2405 | 48.3995 | 48.241 | 48.241 | 48.241 | 48.414 | 48.252 | 48.252 | 48.252 | 48.414 | 48.252 | 48.252 | 48.252 | 48.414 | 48.252 | 48.252
Reference | 52.1204 | 51.9389 | 51.3681 | 51.1407 | 50.6188 | 46.4417 | 46.4492 | 46.6161 | 46.4492 | 46.3995 | 47.3247 | 47.5012 | 47.3252 | 47.3252 | 47.3252 | 47.494 | 47.3363 | 47.3363 | 47.3363 | 47.494 | 47.3363 | 47.3363 | 47.3363 | 47.494 | 47.3363 | 47.3363
High RES | 52.1527 | 51.9108 | 51.3851 | 51.045 | 50.4187 | 46.1331 | 45.9052 | 45.8403 | 45.4635 | 45.2418 | 45.9462 | 45.8844 | 45.505 | 45.1277 | 45.1277 | 45.294 | 45.1388 | 45.1388 | 45.1388 | 45.294 | 45.1388 | 45.1388 | 45.1388 | 45.294 | 45.1388 | 45.1388

## 28_Newbuild_capacity
Zone & Year of Completion of Newbuild Capacity from 2024 Capacity Market Auctions (MW) | 2024 | 2025 | 2026
North | 600 | 1700 | 17
Centre-North | 75 | 0 | 9
Centre-South | 200 | 400 | 8
South | 0 | 0 | 50
Sardinia | 800 | 0 | 0
Sicily | 50 | 0 | 56
Calabria | 0 | 0 | 0

## 29_Inst_thermo_capacity_ref
Installed Thermoelectric Capacity, Reference Scenario (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CCGT | 27.9915 | 27.9915 | 28.7915 | 28.7915 | 28.6115 | 28.6115 | 28.6115 | 28.6115 | 27.8815 | 26.2985 | 24.696 | 24.696 | 24.696 | 24.696 | 24.696 | 24.456 | 24.074 | 22.739 | 21.549 | 21.3895 | 20.3901 | 19.947 | 19.557 | 19.162 | 18.362 | 18.362
CHP | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.3795 | 6.3795 | 6.3795 | 6.3795 | 5.7075 | 5.3225 | 4.552 | 3.7815 | 3.011 | 2.589 | 1.819 | 1.19
Conventional | 1.703 | 0.762 | 0.762 | 0.762 | 0.762
Turbogas/Diesel | 0.458 | 0.458 | 0.458 | 0.458 | 0.458 | 0.242 | 0.242 | 0.242 | 0.242 | 0.242 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037
Ex-CIP6 | 1.4351 | 1.4351 | 1.4351 | 1.4351 | 1.3795 | 1.3795 | 1.3795 | 1.2775 | 1.2559 | 1.093 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.288
Coal | 1.477 | 0.521 | 0.521 | 0.521 | 0.521
Coal USC | 1 | 0.34 | 0.34 | 0.34 | 0.34
Self-producers | 4.6692 | 4.4357 | 4.2139 | 4.0032 | 3.8031 | 3.6129 | 3.4323 | 3.2607 | 3.0976 | 2.9427 | 2.7956 | 2.6558 | 2.523 | 2.3969 | 2.277 | 2.1632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCGT - CM 22-23 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256
Repowering CCGT - CM 22-23 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511
OCGT/Peaker - CM 22-23 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133
CCGT - CM 24-25 |  | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75
OCGT/Peaker - CM 24-25 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3

## 30_Inst_thermo_capacity_low
Installed Thermoelectric Capacity, Low RES Scenario (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CCGT | 27.9915 | 27.9915 | 27.9915 | 27.9915 | 27.8115 | 27.8115 | 27.8115 | 27.8115 | 27.0815 | 25.4985 | 23.896 | 23.896 | 23.896 | 23.896 | 23.896 | 23.656 | 23.274 | 21.939 | 20.749 | 20.5895 | 19.5901 | 19.147 | 18.757 | 18.362 | 17.562 | 17.562
CHP | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.5085 | 6.3795 | 6.3795 | 6.3795 | 6.3795 | 5.7075 | 5.3225 | 4.552 | 3.7815 | 3.011 | 2.589 | 1.819 | 1.19
Conventional | 1.703 | 0.762 | 0.762 | 0.762 | 0.762
Turbogas/Diesel | 0.458 | 0.458 | 0.458 | 0.458 | 0.458 | 0.242 | 0.242 | 0.242 | 0.242 | 0.242 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037
Ex-CIP6 | 1.4351 | 1.4351 | 1.4351 | 1.4351 | 1.3795 | 1.3795 | 1.3795 | 1.2775 | 1.2559 | 1.093 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.288
Coal | 0.817 | 0.817 | 0.817 | 0.817 | 0.817 | 0.817 | 0.817 | 0.817
Coal USC | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34
Self-producers | 4.6692 | 4.4357 | 4.2139 | 4.0032 | 3.8031 | 3.6129 | 3.4323 | 3.2607 | 3.0976 | 2.9427 | 2.7956 | 2.6558 | 2.523 | 2.3969 | 2.277 | 2.1632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCGT - CM 22-23 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256
Repowering CCGT - CM 22-23 |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511
OCGT/Peaker - CM 22-23 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133
CCGT - CM 24-25 | 0.85 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75
OCGT/Peaker - CM 24-25 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3

## 31_Inst_thermo_capacity_high
Installed Thermoelectric Capacity, High RES Scenario (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
CCGT | 27.9915 | 27.9915 | 28.7915 | 28.7915 | 28.6115 | 28.6115 | 28.6115 | 28.6115 | 27.8815 | 26.2985 | 24.696 | 24.696 | 24.696 | 24.696 | 24.696 | 24.456 | 23.694 | 22.739 | 21.549 | 21.3895 | 20.3901 | 20.167 | 19.557 | 19.162 | 17.528 | 17.528
CHP | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 6.6285 | 5.7385 | 5.7385 | 4.5835 | 3.427 | 2.706 | 2.586 | 2.191 | 2.062 | 2.062 | 2.062 | 2.062 | 2.014 | 2.014 | 2.014 | 2.014 | 2.014 | 1.024 | 0.785
Conventional | 0.941
Turbogas/Diesel | 0.282 | 0.282 | 0.282 | 0.282 | 0.282 | 0.242 | 0.242 | 0.242 | 0.242 | 0.242 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.118 | 0.037 | 0.037 | 0.037 | 0.037 | 0.037
Ex-CIP6 | 1.4351 | 1.4351 | 1.4351 | 1.4351 | 1.3795 | 1.3795 | 1.3795 | 1.2775 | 1.2559 | 1.093 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.918 | 0.288
Coal | 1.477 | 0.521 | 0.521 | 0.521
Coal USC | 1.66 | 0.34 | 0.34 | 0.34
Self-producers | 4.6692 | 4.4357 | 4.2139 | 4.0032 | 3.8031 | 3.6129 | 3.4323 | 3.2607 | 3.0976 | 2.9427 | 2.7956 | 2.6558 | 2.523 | 2.3969 | 2.277 | 2.1632 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CCGT - CM 22-23 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256 | 3.256
Repowering CCGT - CM 22-23 | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511 |  |  | 0.64511
OCGT/Peaker - CM 22-23 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133 | 1.3133
CCGT - CM 24-25 |  | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75 | 1.75
OCGT/Peaker - CM 24-25 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3

## 32_Residual_demand_for_CCGTs
Residual demand for CCGTs (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 67.0767 | 68.2287 | 70.3944 | 70.395 | 71.5247 | 77.1653 | 78.4252 | 78.4287 | 78.9688 | 77.015 | 75.0858 | 73.3928 | 72.2578 | 70.6831 | 68.6498 | 67.3191 | 76.2542 | 78.5706 | 80.931 | 82.5189 | 83.4953 | 82.8081 | 82.9734 | 83.5219 | 85.1425 | 82.293
Reference | 71.0125 | 74.6694 | 74.8122 | 73.3829 | 73.142 | 75.0785 | 72.4093 | 71.0723 | 69.1665 | 68.4522 | 65.2153 | 61.102 | 57.0169 | 52.4415 | 47.507 | 43.8386 | 46.1449 | 46.5029 | 47.3769 | 47.4593 | 48.2621 | 47.3321 | 47.0109 | 46.1407 | 46.3744 | 43.2387
High RES | 75.77 | 77.8456 | 75.394 | 69.5345 | 64.4642 | 67.2592 | 64.9087 | 65.7893 | 65.9681 | 64.5802 | 60.2952 | 55.4678 | 49.7096 | 44.7574 | 43.4807 | 39.7833 | 38.279 | 35.6833 | 32.5031 | 29.3138 | 29.1981 | 29.3086 | 27.1273 | 24.7459 | 21.8226 | 20.0362

## 33_Coal_fired_production
Coal-fired Production (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 5.0334 | 4.5349 | 4.1912 | 3.9008 | 3.425 | 1.9304 | 0.49941 | 0.66281 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reference | 3.4481 | 0.80888 | 0.74405 | 0.2969 | 0.18904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High RES | 2.497 | 0.83886 | 0.46321 | 0.089673 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 34_Net_Renewable_Installed_Cap
Net Renewable Installed Capacity (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Hydro | 19.0115 | 19.0753 | 19.139 | 19.2028 | 19.2666 | 19.3304 | 19.3941 | 19.4579 | 19.5217 | 19.5855 | 19.6492 | 19.713 | 19.7768 | 19.8406 | 19.9043 | 19.9681 | 20.0319 | 20.0957 | 20.1594 | 20.2232 | 20.287 | 20.3508 | 20.4145 | 20.4783 | 20.5421 | 20.6059
Wind | 13.6535 | 14.2339 | 15.0993 | 15.9917 | 16.9847 | 18.0155 | 19.0779 | 20.1453 | 21.2176 | 22.2947 | 23.5307 | 24.6962 | 25.8733 | 27.0621 | 28.2628 | 29.4755 | 30.2069 | 31.053 | 31.9174 | 32.8009 | 33.7041 | 34.6279 | 35.5732 | 36.5408 | 37.5316 | 38.5467
Geothermal | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821 | 0.821
Biomass | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901 | 3.901
Solar | 40.3789 | 43.6817 | 47.1892 | 50.6966 | 54.2041 | 57.7115 | 60.179 | 62.6464 | 65.1139 | 67.5814 | 70.0488 | 73.2619 | 76.4749 | 79.688 | 82.901 | 86.1141 | 89.1054 | 92.0967 | 95.0881 | 98.0794 | 101.0707 | 104.0621 | 107.0534 | 110.0447 | 113.0361 | 116.0274
High RES | 79.0978 | 84.6166 | 92.0582 | 99.5483 | 107.163 | 112.997 | 117.4349 | 121.8952 | 126.3792 | 130.7164 | 135.093 | 139.8011 | 144.5137 | 149.2263 | 153.9389 | 158.5967 | 162.7057 | 166.9477 | 171.2142 | 175.5062 | 179.7729 | 184.0642 | 188.3812 | 192.7254 | 197.0979 | 201.5002
Low RES | 76.1745 | 78.7273 | 81.618 | 84.4596 | 88.1151 | 90.5194 | 93.0721 | 95.6585 | 98.287 | 100.9318 | 103.702 | 106.4474 | 109.195 | 111.9446 | 115.0301 | 117.7228 | 120.0848 | 122.5496 | 125.0662 | 127.5882 | 130.1162 | 132.6505 | 135.2016 | 137.7599 | 140.3259 | 142.9001

## 35_Net_Renewable_Production
Net Renewable Production (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Hydro | 45.2759 | 45.4968 | 45.7178 | 45.9387 | 46.1596 | 46.3805 | 46.6014 | 46.8223 | 47.0433 | 47.2642 | 47.4851 | 47.706 | 47.9269 | 48.1478 | 48.3688 | 48.5897 | 48.8106 | 49.0315 | 49.2524 | 49.4733 | 49.6943 | 49.9152 | 50.1361 | 50.357 | 50.5779 | 50.7988
Wind | 25.8129 | 27.0153 | 28.846 | 30.6945 | 32.7116 | 35.3074 | 38.137 | 40.9764 | 43.8255 | 46.6842 | 49.8982 | 53.0174 | 56.1613 | 59.3303 | 62.5249 | 65.7482 | 67.3523 | 69.1965 | 71.0723 | 72.9811 | 74.9537 | 76.9624 | 79.0089 | 81.0952 | 83.2229 | 85.3941
Geothermal | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 5.7929 | 4.5408 | 4.5408 | 4.5408 | 4.5532 | 4.5408 | 4.5408 | 4.5408 | 4.5532 | 4.5408 | 4.5408
Biomass | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236 | 16.1236 | 16.1677 | 16.1236 | 16.1236
Solar | 42.9402 | 45.4364 | 48.4554 | 51.9605 | 55.8464 | 60.1096 | 63.879 | 67.1537 | 70.567 | 74.1247 | 77.8273 | 82.3904 | 87.6728 | 93.0392 | 98.4807 | 103.9843 | 109.2784 | 114.4352 | 119.6292 | 124.7972 | 130.0882 | 135.5352 | 141.003 | 146.4435 | 151.8568 | 157.2431
High RES | 137.6066 | 144.8901 | 155.2677 | 167.1709 | 180.1324 | 192.5636 | 202.1682 | 210.7157 | 219.2804 | 227.5738 | 235.9941 | 245.0165 | 254.329 | 263.7773 | 273.2295 | 282.6439 | 290.5841 | 298.8196 | 307.1962 | 315.6526 | 324.1007 | 332.9052 | 341.8195 | 350.8187 | 359.7494 | 368.7736
Low RES | 134.0701 | 135.7631 | 137.7412 | 140.0591 | 143.0414 | 146.2834 | 149.4517 | 152.8456 | 156.3014 | 159.929 | 163.836 | 167.9129 | 171.9838 | 176.1474 | 180.7917 | 185.0059 | 187.3683 | 191.2073 | 195.1557 | 199.1539 | 203.1573 | 207.3723 | 211.6206 | 215.9222 | 220.1086 | 224.3512

## 36_Day_Ahead_Market_Overgen
Day-Ahead Market Overgeneration (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | -0.48243 | -0.54029 | -0.60134 | -0.14583 | -0.24318 | -0.16168 | -0.095751 | -0.23945 | -0.25468 | -0.11247 | -0.31715 | -0.26961 | -0.50352 | -0.61069 | -0.71042 | -0.85254 | -0.60303 | -0.62751 | -0.84643 | -0.7577 | -0.40452 | -0.91393 | -0.67529 | -1.2874 | -1.1054 | -1.148
Reference | -0.50411 | -0.75024 | -0.91205 | -0.4219 | -0.86867 | -0.58984 | -0.48353 | -1.0401 | -1.1903 | -0.85304 | -2.0054 | -2.3944 | -3.2484 | -4.0124 | -4.3222 | -5.8344 | -6.1722 | -6.1248 | -6.3037 | -5.8794 | -6.5631 | -8.6694 | -9.4061 | -9.2278 | -7.5264 | -6.8208
High RES | -0.53336 | -0.90219 | -1.5937 | -0.85489 | -1.4091 | -1.6416 | -1.8478 | -2.0505 | -2.0102 | -2.0692 | -3.3433 | -3.2268 | -2.839 | -2.6858 | -4.3265 | -5.4541 | -5.7836 | -4.8118 | -5.3124 | -5.2972 | -6.768 | -8.4038 | -8.9913 | -9.3669 | -10.3871 | -12.9055

## 37_Electrolyzer_installed_cap
Electrolyzer Installed Capacity (GW) | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference | 0 | 0 | 0.12597 | 0.56478 | 0.59867 | 0.56568 | 0.52349 | 0.56812 | 0.68799 | 0.86437 | 1.2762 | 2.7965 | 4.912 | 7.118
High RES | 0.655 | 1.8658 | 5.2714 | 6.8753 | 6.9538 | 8.289 | 9.2509 | 10.6119 | 13.3805 | 13.774 | 16.6781 | 17.2026 | 19.8713 | 22.4388

## 38_Fixed_tilt_Solar_PV
Fixed-tilt Solar PV LCOE Range and Captured PUN (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 128.4097 | 121.6795 | 118.1524 | 120.1261 | 118.0142 | 120.6117 | 117.7598 | 114.1725 | 111.8575 | 111.8662 | 107.7722 | 106.0343 | 102.1932 | 99.3073 | 96.8697 | 95.6201 | 95.603 | 91.4961 | 89.4541 | 89.1697 | 89.1945 | 86.5617 | 85.0855 | 81.9289 | 80.9843 | 79.6181
Reference | 109.2411 | 93.4624 | 87.4363 | 84.564 | 79.939 | 78.7569 | 73.9194 | 72.1404 | 70.9671 | 71.5202 | 70.0793 | 67.0382 | 65.4892 | 64.3491 | 65.0047 | 62.7916 | 57.7845 | 54.6958 | 52.62 | 50.0598 | 45.2086 | 43.7169 | 40.481 | 41.4191 | 38.665 | 36.6422
High RES | 96.1032 | 79.3894 | 70.5836 | 67.0013 | 59.2123 | 55.3289 | 51.9396 | 53.0473 | 54.1796 | 55.3713 | 55.5716 | 53.4247 | 52.3888 | 53.5588 | 55.3086 | 54.6554 | 55.5466 | 52.3184 | 52.2551 | 52.3661 | 49.8562 | 49.9332 | 48.5131 | 45.9166 | 43.473 | 43.6752
LCOE Reference | 60.2999 | 57.9366 | 55.6016 | 53.2945 | 51.0146 | 48.7616 | 47.7784 | 46.8066 | 45.846 | 44.8965 | 43.9579 | 43.0299 | 42.1124 | 41.2052 | 40.3081 | 39.421 | 38.8536 | 38.3016 | 37.7647 | 37.2423 | 36.7342 | 36.2398 | 35.7589 | 35.2909 | 34.8356 | 34.3926
LCOE High RES | 28.5052 | 27.1447 | 26.0366 | 24.941 | 23.8577 | 22.7863 | 21.7268 | 20.679 | 19.6426 | 18.6175 | 17.6034 | 16.6003 | 15.6079 | 14.626 | 13.6545 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933 | 12.6933
LCOE Range | 88.8051 | 85.0813 | 81.6383 | 78.2355 | 74.8723 | 71.5479 | 69.5052 | 67.4856 | 65.4886 | 63.514 | 61.5613 | 59.6301 | 57.7202 | 55.8312 | 53.9626 | 52.1143 | 51.5469 | 50.9949 | 50.458 | 49.9357 | 49.4275 | 48.9331 | 48.4522 | 47.9842 | 47.5289 | 47.0859

## 38_Tracker_solar
Tracker Solar PV LCOE Range and Captured PUN (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 132.1196 | 124.9904 | 121.026 | 123.4109 | 121.3436 | 124.2068 | 121.3683 | 117.9638 | 115.6799 | 115.7899 | 111.5762 | 109.7371 | 105.8063 | 102.9499 | 100.5262 | 99.3673 | 99.6141 | 95.6047 | 93.7182 | 93.625 | 93.7564 | 91.1975 | 89.7223 | 86.6215 | 85.6223 | 84.1863
Reference | 112.2941 | 96.5392 | 89.9454 | 87.1728 | 82.733 | 81.7 | 76.716 | 75.0484 | 73.9424 | 74.4484 | 73.0748 | 69.9465 | 68.3909 | 67.1801 | 67.8293 | 65.5362 | 60.8646 | 57.6338 | 55.4988 | 53.1035 | 48.3116 | 46.5685 | 43.514 | 43.7344 | 41.0001 | 39.035
High RES | 98.0222 | 81.4496 | 72.7217 | 69.2223 | 61.306 | 57.4939 | 54.1393 | 55.2203 | 56.3222 | 57.5048 | 57.6284 | 55.3607 | 54.3606 | 55.03 | 56.188 | 54.6189 | 56.2022 | 53.0218 | 52.5803 | 52.3463 | 49.7611 | 49.3793 | 47.9387 | 43.6623 | 41.3211 | 41.1509
LCOE Reference | 57.7434 | 55.3123 | 52.9103 | 50.5368 | 48.1915 | 45.8738 | 44.9038 | 43.9452 | 42.9976 | 42.0609 | 41.1349 | 40.2195 | 39.3144 | 38.4195 | 37.5345 | 36.6594 | 36.0909 | 35.5383 | 35.0009 | 34.4785 | 33.9706 | 33.4768 | 32.9966 | 32.5297 | 32.0757 | 31.6342
LCOE High RES | 29.7446 | 27.1438 | 26.0075 | 24.884 | 23.7731 | 22.6745 | 21.588 | 20.5135 | 19.4507 | 18.3995 | 17.3596 | 16.3309 | 15.3133 | 14.3064 | 13.3102 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245 | 12.3245
LCOE Range | 87.488 | 82.4561 | 78.9178 | 75.4208 | 71.9646 | 68.5482 | 66.4918 | 64.4587 | 62.4483 | 60.4604 | 58.4946 | 56.5504 | 54.6276 | 52.7259 | 50.8447 | 48.9839 | 48.4154 | 47.8627 | 47.3254 | 46.803 | 46.2951 | 45.8013 | 45.3211 | 44.8542 | 44.4002 | 43.9587

## 39_Wind_LCOE_Range_and_PUN
Wind LCOE Range and Captured PUN (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 145.5468 | 142.5579 | 138.9043 | 137.6987 | 136.3142 | 137.6077 | 136.6918 | 135.4174 | 132.7927 | 130.6471 | 127.6756 | 126.3353 | 125.6243 | 123.5508 | 120.3502 | 116.2078 | 115.9433 | 117.3374 | 116.1387 | 114.2766 | 112.0519 | 110.3964 | 110.1936 | 111.4185 | 110.8755 | 109.216
Reference | 127.4071 | 110.3327 | 104.3437 | 96.9571 | 92.3732 | 89.9598 | 88.7349 | 88.6444 | 87.1153 | 85.5 | 83.589 | 86.2948 | 85.6353 | 84.5343 | 80.8473 | 77.5675 | 75.8121 | 76.2356 | 75.1601 | 71.0052 | 69.0458 | 66.208 | 64.6749 | 65.4568 | 63.6238 | 60.6479
High RES | 117.1046 | 94.1261 | 82.7939 | 77.4609 | 67.5794 | 64.5754 | 64.8692 | 65.4174 | 65.1091 | 63.9419 | 63.5808 | 64.6201 | 64.5779 | 63.5532 | 60.8207 | 61.035 | 58.5406 | 59.1784 | 57.8147 | 56.2454 | 54.3896 | 56.6229 | 55.2299 | 58.3899 | 54.5897 | 55.8545
LCOE Reference | 75.5305 | 72.5388 | 69.5753 | 66.6396 | 63.7314 | 60.8503 | 59.6199 | 58.4009 | 57.193 | 55.9962 | 54.8103 | 53.6351 | 52.4705 | 51.3163 | 50.1725 | 49.0388 | 48.2117 | 47.3988 | 46.5998 | 45.8145 | 45.0426 | 44.2839 | 43.5381 | 42.8051 | 42.0847 | 41.3765
LCOE High RES | 47.5277 | 41.0992 | 40.1103 | 39.1295 | 38.157 | 37.1924 | 36.2358 | 35.2871 | 34.346 | 33.4127 | 32.4869 | 31.5685 | 30.6576 | 29.7539 | 28.8574 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968 | 27.968
LCOE Range | 123.0582 | 113.638 | 109.6856 | 105.7692 | 101.8884 | 98.0427 | 95.8557 | 93.6879 | 91.5391 | 89.4089 | 87.2971 | 85.2036 | 83.128 | 81.0702 | 79.0299 | 77.0068 | 76.1797 | 75.3668 | 74.5678 | 73.7825 | 73.0106 | 72.2519 | 71.5062 | 70.7732 | 70.0527 | 69.3446

## 40_Pumped_hydro_production
Pumped Hydro Production (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 2.3218 | 1.8694 | 1.6698 | 1.1391 | 1.4209 | 1.0462 | 1.3176 | 1.2091 | 1.0885 | 0.99343 | 1.3488 | 1.6786 | 1.6203 | 1.6324 | 1.5933 | 1.7978 | 1.7468 | 1.7326 | 1.5311 | 1.2123 | 1.242 | 1.4488 | 1.4827 | 1.8042 | 1.66 | 1.5673
Reference | 2.2929 | 1.9512 | 1.8841 | 1.5444 | 1.9403 | 1.6338 | 2.1487 | 1.999 | 2.029 | 2.2001 | 2.6106 | 3.4029 | 3.518 | 4.0085 | 4.6503 | 5.7437 | 5.4068 | 5.0985 | 4.8881 | 4.9679 | 5.3067 | 5.488 | 5.9124 | 5.9055 | 5.9815 | 6.7106
High RES | 2.3452 | 2.0502 | 2.3403 | 2.1893 | 2.5013 | 2.9103 | 3.2839 | 2.866 | 3.0474 | 3.4048 | 3.6905 | 4.3262 | 4.584 | 5.2771 | 5.8369 | 7.2348 | 6.9848 | 6.9273 | 6.8418 | 7.5139 | 7.4145 | 7.8891 | 8.2669 | 8.8623 | 8.8356 | 8.8331

## 41_Power_Intens_Electroch_stor
Power Intensive Electrochemical Storage (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 5.866 | 5.933 | 6.002 | 6.071 | 6.139 | 6.371 | 6.457 | 6.545 | 6.631 | 6.717 | 6.805 | 6.892 | 6.978 | 7.066 | 7.152 | 7.239 | 7.35 | 7.463 | 7.575 | 7.686 | 7.798 | 7.91 | 8.023 | 8.135 | 8.247 | 8.359
Reference | 5.868 | 6.01 | 6.15 | 6.29 | 6.433 | 6.66 | 6.731 | 6.801 | 6.872 | 6.941 | 7.01 | 7.08 | 7.152 | 7.219 | 7.29 | 7.36 | 7.659 | 7.956 | 8.256 | 8.554 | 8.855 | 9.153 | 9.452 | 9.751 | 10.05 | 10.348
High RES | 5.925 | 6.122 | 6.318 | 6.516 | 6.713 | 6.91 | 7.093 | 7.275 | 7.456 | 7.637 | 7.82 | 8.002 | 8.185 | 8.366 | 8.549 | 8.731 | 8.965 | 9.2 | 9.436 | 9.671 | 9.906 | 10.143 | 10.377 | 10.612 | 10.848 | 11.083

## 42_Energy_Intens_Electroc_stor
Energy Intensive Electrochemical Storage (GW) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 0.669 | 1.337 | 2.006 | 4.323 | 5.621 | 7.902 | 8.688 | 9.473 | 10.262 | 11.049 | 11.836 | 12.623 | 13.409 | 14.198 | 14.985 | 15.772 | 16.501 | 17.23 | 17.955 | 18.684 | 19.413 | 20.139 | 20.866 | 21.595 | 22.322 | 23.05
Reference | 0.669 | 1.337 | 2.006 | 4.866 | 6.36 | 9.773 | 10.935 | 12.096 | 13.258 | 14.419 | 15.58 | 16.741 | 17.904 | 19.064 | 20.225 | 21.388 | 22.441 | 23.495 | 24.549 | 25.602 | 26.655 | 27.709 | 28.764 | 29.817 | 30.871 | 31.924
High RES | 0.669 | 1.337 | 2.006 | 6.396 | 13.434 | 13.561 | 15.775 | 17.989 | 20.202 | 22.417 | 24.633 | 26.846 | 29.06 | 31.275 | 33.488 | 35.702 | 37.617 | 39.529 | 41.445 | 43.358 | 45.271 | 47.185 | 49.099 | 51.012 | 52.926 | 54.84

## 44_Baseload_PUN
Baseload PUN (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 149.9179 | 144.6551 | 142.1923 | 142.8572 | 142.6774 | 143.7405 | 142.5334 | 141.0616 | 139.1915 | 138.2706 | 135.8986 | 134.0613 | 132.2951 | 130.4889 | 128.5519 | 127.0317 | 126.7311 | 126.4305 | 126.1299 | 125.8292 | 125.5286 | 125.1041 | 124.656 | 124.1842 | 123.6887 | 123.1695
Reference | 129.2862 | 112.8032 | 107.8001 | 102.6487 | 99.6373 | 97.9842 | 95.304 | 95.7112 | 95.126 | 94.7847 | 94.9608 | 95.1421 | 95.0104 | 94.7855 | 94.7804 | 94.8506 | 93.0352 | 91.1945 | 89.3347 | 87.5642 | 85.6677 | 84.2525 | 83.0092 | 81.3704 | 79.9256 | 78.3718
High RES | 114.9635 | 94.8268 | 86.2777 | 83.05 | 74.4337 | 71.2442 | 70.5715 | 71.4594 | 72.2617 | 72.9755 | 73.2505 | 73.087 | 72.5996 | 72.3925 | 72.9421 | 73.157 | 72.3499 | 71.5428 | 70.7357 | 69.9286 | 69.1215 | 69.3375 | 68.5427 | 67.6913 | 66.2401 | 66.1057

## 45_Peak_off_peak_PUN
VARIABLE | 2025 | 2030 | 2035 | 2040 | 2050
Peak | 140.7482 | 103.0114 | 97.2429 | 96.0095 | 58.0411
Off-peak | 134.9071 | 107.175 | 109.2944 | 118.1304 | 100.4352
Holidays | 110.4801 | 81.9256 | 76.1938 | 67.4924 | 50.491

## 46_Baseload_PUN_compon_ref
Baseload PUN Components, Reference Scenario (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Clean Spark Spread - CCGT 53% |  | -2.2175 | -3.7231 | -4.0642 | -4.4514 | -4.3356 | -4.3386 | -4.3415 | -4.3931 | -4.4447 | -4.4963 | -4.722 | -4.9476 | -5.4955 | -6.2296 | -6.6952 | -7.0296 | -9.5287 | -12.006 | -14.4834 | -16.9607 | -19.438 | -21.4109 | -23.4368 | -25.5159 | -27.6485 | -29.8343
ETS impact - CCGT 53% | 24.5724 | 32.3858 | 34.6167 | 40.4432 | 41.2983 | 39.9719 | 40.3924 | 39.8195 | 40.7213 | 41.4193 | 42.1172 | 42.8151 | 43.5131 | 44.211 | 44.9089 | 45.6068 | 46.3048 | 46.9534 | 47.5803 | 48.2072 | 48.8341 | 49.4609 | 50.0878 | 50.7147 | 51.3416 | 51.9685 | 52.5954
Fuel variable cost - CCGT 53% |  | 90.173 | 72.1381 | 62.9309 | 58.2969 | 57.3099 | 56.873 | 56.4724 | 55.9677 | 54.7336 | 53.7437 | 53.4822 | 53.2208 | 52.9593 | 52.6978 | 52.4363 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406 | 52.2406
Logistic variable cost - CCGT 53% | 8.8649 | 8.9427 | 9.7571 | 8.3917 | 7.4494 | 6.7103 | 5.0672 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241 | 3.4241
PUN | 33.4373 | 129.284 | 112.7888 | 107.7015 | 102.5933 | 99.6566 | 97.9941 | 95.3745 | 95.72 | 95.1322 | 94.7887 | 94.9995 | 95.2103 | 95.0988 | 94.8011 | 94.772 | 94.9399 | 93.0894 | 91.239 | 89.3886 | 87.5381 | 85.6877 | 84.3417 | 82.9426 | 81.4904 | 79.9847 | 78.4257

## 47_Hourly_PUN_Shape_referenc
Hourly PUN Shape (€/MWh) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2025 | 126.0358 | 118.5093 | 113.0447 | 110.9189 | 110.9945 | 116.2286 | 132.1428 | 144.0185 | 143.4279 | 127.0905 | 115.3066 | 108.9684 | 102.2158 | 100.4439 | 105.6909 | 115.4196 | 128.8262 | 141.9361 | 161.4232 | 175.0509 | 170.4653 | 156.4772 | 144.7024 | 133.5315
2030 | 96.0579 | 89.5773 | 85.2835 | 83.7422 | 83.932 | 87.7443 | 102.4106 | 109.5231 | 106.1535 | 90.4822 | 81.9664 | 77.3739 | 72.1062 | 71.2908 | 75.7757 | 84.7363 | 96.6767 | 108.9778 | 123.1252 | 140.8464 | 139.5529 | 126.5005 | 114.1607 | 103.6253
2035 | 97.8068 | 91.3911 | 86.801 | 85.498 | 85.486 | 88.7447 | 101.6173 | 103.6738 | 95.2515 | 80.1917 | 72.7426 | 69.0857 | 65.1527 | 64.62 | 68.5802 | 76.8192 | 87.6687 | 101.5557 | 119.2767 | 141.8644 | 144.4912 | 130.1019 | 115.6648 | 104.9728
2040 | 102.4835 | 96.5826 | 92.2258 | 91.3998 | 91.1959 | 93.919 | 103.7688 | 100.0413 | 85.9293 | 71.3063 | 65.2903 | 62.6471 | 59.7058 | 59.5045 | 62.8524 | 70.0745 | 80.8333 | 94.1614 | 114.542 | 147.6377 | 157.6418 | 139.8531 | 122.1257 | 110.6933
2050 | 89.2004 | 82.9103 | 79.6571 | 78.83 | 78.8425 | 81.5183 | 86.9605 | 81.6427 | 59.3076 | 45.2103 | 40.1795 | 38.0797 | 36.3459 | 36.2374 | 39.1017 | 45.1513 | 55.84 | 68.196 | 87.3775 | 138.8657 | 176.9752 | 144.3813 | 111.2279 | 98.8837

## 48_Baseload_Zonal_Prices_ref
Baseload Zonal Prices, Reference Scenario (€/MWh) | 2025 | 2030 | 2035 | 2040 | 2050
PUN | 128.0424 | 97.9842 | 94.9608 | 94.8506 | 78.3718
North | 129.0846 | 98.26 | 95.382 | 95.1247 | 78.7576
Centre-North | 126.5481 | 97.2481 | 94.8255 | 94.7224 | 78.6275
Centre-South | 126.6134 | 97.4253 | 94.8279 | 94.7209 | 78.6045
South | 126.163 | 97.333 | 93.5893 | 94.7191 | 78.5975
Sicily | 126.8633 | 98.7013 | 93.3695 | 93.2454 | 76.3519
Sardinia | 125.4701 | 96.8722 | 94.8252 | 93.8409 | 71.11
Calabria | 126.0585 | 97.3326 | 93.5893 | 94.7191 | 78.5975

## 49_Baseload_PUN_South
Baseload PUN-South Price Differential (PUN-Pz) (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | 2.7316 | 2.4099 | 2.4876 | 1.1148 | 0.64305 | 0.091558 | 0.17527 | 0.28392 | 0.4477 | 0.92866 | 0.81649 | 0.78414 | 0.91449 | 1.1956 | 1.5076 | 0.85487 | 0.53226 | 0.28661 | 0.22219 | 0.070356 | 0.0058684 | 0.0088508 | 0.056776 | 0.099466 | 0.16168 | 0.11781
Reference | 1.8794 | 1.7866 | 2.0237 | 1.376 | 1.2076 | 0.65125 | 0.87256 | 1.2146 | 1.8113 | 1.8895 | 1.3715 | 1.1988 | 0.36794 | 0.23253 | 0.031126 | 0.13154 | -0.0014888 | -0.04118 | -0.099715 | -0.11951 | -0.11635 | -0.10412 | -0.13034 | -0.22865 | -0.18791 | -0.22574
High RES | 1.7323 | 2.4351 | 3.5436 | 1.6874 | 1.2587 | 1.5627 | 1.9559 | 1.6529 | 0.17056 | 0.25847 | 0.75731 | 0.32142 | 0.4651 | 0.6142 | 1.6898 | 1.0663 | 0.39065 | 0.29924 | 0.47681 | 0.23282 | -0.21866 | 0.016892 | 0.11408 | 0.46618 | 0.53625 | 0.12394

## 50_Baseload_CSS_for_CCGTs
Baseload CSS for Existing CCGTs (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Low RES | -3.8425 | -5.1742 | -4.9259 | -5.062 | -4.79 | -4.17 | -3.5499 | -3.7357 | -3.4386 | -3.2343 | -2.8662 | -3.2135 | -3.4898 | -3.8061 | -4.2011 | -4.2313 | -5.3782 | -6.4204 | -7.4626 | -8.5048 | -9.547 | -10.713 | -11.9027 | -13.1161 | -14.3532 | -15.6139
Reference | -2.2175 | -3.7231 | -4.0642 | -4.4514 | -4.3356 | -4.3386 | -4.3415 | -4.3931 | -4.4447 | -4.4963 | -4.722 | -4.9476 | -5.4955 | -6.2296 | -6.6952 | -7.0296 | -9.5287 | -12.006 | -14.4834 | -16.9607 | -19.438 | -21.4109 | -23.4368 | -25.5159 | -27.6485 | -29.8343
High RES | -1.5477 | -3.2398 | -3.9725 | -4.8506 | -5.7286 | -5.6135 | -5.4985 | -5.466 | -5.1112 | -4.845 | -5.0175 | -5.6285 | -6.5635 | -7.2181 | -7.116 | -7.3487 | -8.7383 | -10.0369 | -11.3356 | -12.6343 | -13.9329 | -14.2084 | -15.4947 | -16.8377 | -18.7805 | -19.4064

## 51_Captured_CSS_of_CCGT_ref
Captured CSS of CCGT Units, Reference Scenario (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
South 53% | -4.269 | -1.1823 | -1.2483 | 3.5794 | 2.7661 | 3.8503 | 0.91101 | 5.6671 | 7.0129 | 10.6618 | 11.705 | 11.6676 | 8.378 | 9.5676 | 21.9883 | 22.0545 | 21.7071 | 21.2762 | 9.9254 | -2.4798 | 0.22185 | -14.2587 | -13.3705 | -17.6188 | 0.11437 | -12.8032
Baseload | -2.2175 | -3.7231 | -4.0642 | -4.4514 | -4.3356 | -4.3386 | -4.3415 | -4.3931 | -4.4447 | -4.4963 | -4.722 | -4.9476 | -5.4955 | -6.2296 | -6.6952 | -7.0296 | -9.5287 | -12.006 | -14.4834 | -16.9607 | -19.438 | -21.4109 | -23.4368 | -25.5159 | -27.6485 | -29.8343
North 53% | 6.482 | 5.0206 | 5.8068 | 4.4773 | 5.1879 | 6.0859 | 3.98 | 6.0519 | 4.9762 | 5.7101 | 6.2239 | 7.8619 | 7.9962 | 8.7324 | 9.9446 | 11.25 | 10.8137 | 7.3147 | 3.9395 | 0.92375 | -0.94685 | -1.9394 | -4.0173 | -2.3076 | -5.6624 | -5.7191
Centre-South 53% | 10.3898 | 10.2045 | 11.5082 | 13.6043 | 14.0136 | 13.0673 | 15.1303 | 14.1982 | 16.5773 | 13.4165 | 16.27 | 18.5285 | 19.0444 | 17.1578 | 18.2439 | 21.2615 | 19.5693 | 14.3286 | 13.8493 | 9.3607 | 6.5532 | 6.5382 | 4.4145 | 1.9188 | -0.75725 | 0.17098

## 52_Solar_Captured_Prices_ref
Solar Captured Prices, Reference Scenario - detail of North and South market zones (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North Fixed tilt | 114.7067 | 97.1793 | 91.6421 | 88.0171 | 82.9191 | 79.8331 | 75.3554 | 72.6974 | 71.6121 | 72.1493 | 70.5896 | 67.7897 | 66.2655 | 65.1344 | 65.3128 | 62.7478 | 57.5012 | 54.4659 | 52.4006 | 49.8822 | 44.987 | 43.536 | 40.291 | 41.4916 | 38.803 | 36.7067
North Solar TR | 116.536 | 99.274 | 93.1219 | 89.8947 | 84.9929 | 82.2226 | 77.5526 | 75.0493 | 74.0312 | 74.5522 | 73.0407 | 70.1883 | 68.6624 | 67.4846 | 67.6874 | 65.0365 | 60.0745 | 56.9111 | 54.8066 | 52.4562 | 47.58 | 45.9187 | 42.8272 | 43.335 | 40.6757 | 38.6386
South Fixed tilt | 99.4526 | 86.9749 | 80.2487 | 79.1849 | 75.2225 | 76.6443 | 71.2667 | 69.5272 | 67.6008 | 68.5594 | 67.8171 | 64.702 | 64.4551 | 63.686 | 64.8854 | 62.7802 | 57.9729 | 54.9214 | 52.9558 | 50.4405 | 45.5467 | 44.0397 | 40.8225 | 42.0227 | 39.2597 | 37.1648
South Solar TR | 104.268 | 91.2892 | 84.0862 | 82.5395 | 78.6748 | 79.8931 | 74.4361 | 72.7684 | 70.9804 | 71.8483 | 71.1366 | 67.8455 | 67.53 | 66.6283 | 67.7726 | 65.5895 | 61.095 | 57.8819 | 55.8398 | 53.4819 | 48.6852 | 46.8906 | 43.8853 | 44.314 | 41.5531 | 39.5227
PUN Fixed tilt | 109.2411 | 93.4624 | 87.4363 | 84.564 | 79.939 | 78.7569 | 73.9194 | 72.1404 | 70.9671 | 71.5202 | 70.0793 | 67.0382 | 65.4892 | 64.3491 | 65.0047 | 62.7916 | 57.7845 | 54.6958 | 52.62 | 50.0598 | 45.2086 | 43.7169 | 40.481 | 41.4191 | 38.665 | 36.6422
PUN Solar TR | 112.2941 | 96.5392 | 89.9454 | 87.1728 | 82.733 | 81.7 | 76.716 | 75.0484 | 73.9424 | 74.4484 | 73.0748 | 69.9465 | 68.3909 | 67.1801 | 67.8293 | 65.5362 | 60.8646 | 57.6338 | 55.4988 | 53.1035 | 48.3116 | 46.5685 | 43.514 | 43.7344 | 41.0001 | 39.035

## 53_Wind_Captured_Prices_ref
Wind Captured Prices, Reference Scenario - detail of North and South market zones (€/MWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North - Wind Onshore | 133.7225 | 115.1256 | 108.8388 | 102.3756 | 97.6568 | 94.8482 | 94.1866 | 93.324 | 92.0333 | 91.2852 | 88.9316 | 92.3744 | 91.7616 | 90.7574 | 88.214 | 85.2662 | 84.0685 | 83.5726 | 81.8807 | 78.7959 | 76.063 | 73.2631 | 73.3737 | 72.4125 | 70.7105 | 68.3336
North - Wind Offshore | 0 | 115.4091 | 110.969 | 104.3967 | 98.9039 | 95.1142 | 94.792 | 95.3966 | 94.6501 | 92.7897 | 89.3709 | 92.5058 | 91.9038 | 92.2545 | 90.097 | 85.511 | 83.7817 | 83.7459 | 80.9241 | 79.4763 | 76.2815 | 72.6611 | 72.4999 | 72.8895 | 71.4441 | 69.0201
South - Wind Onshore | 120.3939 | 106.0265 | 99.5374 | 92.6909 | 88.77 | 88.4428 | 86.748 | 85.9856 | 82.6693 | 80.7287 | 80.6059 | 83.7175 | 84.8821 | 83.9919 | 80.338 | 77.4213 | 76.3596 | 77.0037 | 76.009 | 71.4796 | 69.7859 | 67.2169 | 65.8652 | 66.7602 | 64.5474 | 61.4453
South - Wind Offshore | 122.8895 | 107.7713 | 102.6825 | 96.2951 | 92.3832 | 90.0873 | 88.5107 | 88.5613 | 86.0516 | 84.0339 | 83.7571 | 86.1685 | 87.2666 | 86.9714 | 84.5354 | 81.8533 | 79.6885 | 79.3823 | 79.1988 | 76.4642 | 75.2048 | 71.8107 | 69.6142 | 70.9933 | 69.0693 | 67.3146
PUN Onshore | 127.4071 | 110.3327 | 104.3437 | 96.9571 | 92.3732 | 89.9598 | 88.7349 | 88.6444 | 87.1153 | 85.5 | 83.589 | 86.2948 | 85.6353 | 84.5343 | 80.8473 | 77.5675 | 75.8121 | 76.2356 | 75.1601 | 71.0052 | 69.0458 | 66.208 | 64.6749 | 65.4568 | 63.6238 | 60.6479
PUN Offshore | 128.5717 | 111.8911 | 107.5124 | 100.5384 | 95.9636 | 92.9696 | 91.999 | 92.6587 | 91.5986 | 89.8438 | 87.5595 | 89.8423 | 89.4879 | 89.0978 | 86.6237 | 82.9897 | 81.1742 | 81.0255 | 79.8801 | 77.5607 | 75.3593 | 71.8868 | 70.6527 | 70.8744 | 69.4607 | 67.0207

## 54_Hydro_Run_of_river_ref
Small-size, Run-of-river Hydro Captured Prices, Reference Scenario | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 131.7696 | 114.9665 | 108.497 | 103.3848 | 100.3146 | 98.3224 | 95.6246 | 96.0995 | 95.7629 | 95.5323 | 95.4787 | 96.1212 | 96.3046 | 96.1307 | 95.6336 | 95.2167 | 94.6936 | 92.9049 | 91.1031 | 89.4097 | 87.5141 | 86.12 | 84.9078 | 83.3532 | 82.1815 | 80.5067
South | 126.7183 | 111.9071 | 105.0147 | 100.6614 | 97.8702 | 96.9842 | 93.8011 | 94.1054 | 93.0336 | 92.7088 | 93.2818 | 93.759 | 94.6429 | 94.4682 | 94.5268 | 94.1945 | 93.9208 | 92.0872 | 90.2782 | 88.5213 | 86.5748 | 85.1278 | 83.8401 | 82.234 | 80.7453 | 79.228
PUN | 129.9619 | 113.8354 | 107.2717 | 102.2576 | 99.2942 | 97.8553 | 94.9285 | 95.5829 | 95.1058 | 94.8289 | 94.8655 | 95.2506 | 95.3558 | 95.0454 | 94.9169 | 94.7006 | 94.3108 | 92.496 | 90.6799 | 88.9396 | 87.0467 | 85.621 | 84.36 | 82.6818 | 81.3149 | 79.7404

## 55_ASM_Ex_ante_Zonal_Vol_ref
ASM Ex-ante Zonal Volumes, Reference Scenario (TWh) | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 2.9798 | 3.3017 | 3.8119 | 5.1015 | 5.5491 | 6.6582 | 7.99 | 6.5764 | 6.3707 | 5.6336 | 5.569 | 6.5826 | 5.7028 | 5.9192 | 6.1838 | 5.9137 | 5.9928 | 4.7018 | 6.1412 | 4.6658 | 4.883 | 4.9775 | 4.4132 | 4.8764 | 4.6327 | 4.392
Centre-North | 0.09663 | 0.15887 | 0.13528 | 0.20233 | 0.22258 | 0.28026 | 0.33067 | 0.41366 | 0.3285 | 0.42886 | 0.37626 | 0.47824 | 0.52456 | 0.57309 | 0.73285 | 0.79447 | 0.73642 | 0.63461 | 0.49056 | 0.51622 | 0.68193 | 0.58879 | 0.68196 | 0.81303 | 0.7453 | 0.66416
Centre-South | 0.66869 | 0.70553 | 0.73566 | 0.9757 | 1.1081 | 1.3244 | 1.6093 | 1.3964 | 1.5681 | 1.3775 | 1.6449 | 1.676 | 1.6405 | 1.6903 | 1.9691 | 1.9227 | 2.0245 | 1.4804 | 2.0933 | 2.3684 | 1.4787 | 1.8009 | 1.7132 | 2.9962 | 2.4511 | 2.3479
South | 0.15532 | 0.2319 | 0.41666 | 1.2246 | 0.84181 | 1.8693 | 1.899 | 1.8288 | 1.8067 | 1.5422 | 1.4864 | 1.8135 | 1.8249 | 2.0005 | 2.3363 | 2.2233 | 2.5446 | 1.8175 | 2.1125 | 0.74156 | 1.8313 | 1.7234 | 1.5238 | 0.95998 | 1.0195 | 0.70579
Calabria | 0.7569 | 0.88176 | 1.0476 | 1.4901 | 1.364 | 1.9959 | 2.0504 | 1.8735 | 1.6331 | 1.47 | 1.2667 | 1.4647 | 1.683 | 1.8485 | 1.7474 | 1.8514 | 1.6037 | 1.0816 | 1.368 | 1.0609 | 0.84036 | 0.85226 | 0.82194 | 1.2209 | 0.76759 | 0.59422
Sicily | 0.19479 | 0.33469 | 0.30423 | 0.43891 | 0.44378 | 0.7049 | 0.75803 | 0.80408 | 0.65117 | 0.55966 | 0.55752 | 0.62532 | 0.5838 | 0.69784 | 0.92816 | 0.89485 | 1.5214 | 1.1989 | 1.2767 | 1.177 | 1.0965 | 0.88418 | 0.791 | 1.0015 | 0.98584 | 0.82331
Sardinia | 0.14161 | 0.20959 | 0.35575 | 0.66958 | 0.54129 | 0.57076 | 0.64847 | 0.62353 | 0.48845 | 0.49852 | 0.48074 | 0.6169 | 0.56682 | 0.69744 | 0.83693 | 0.55756 | 0.64286 | 0.38952 | 0.45048 | 0.4569 | 0.28224 | 0.32106 | 0.33095 | 0.351 | 0.28172 | 0.20498
North | -1.8836 | -2.0137 | -2.1654 | -3.466 | -3.7324 | -4.5261 | -6.023 | -5.0085 | -5.0908 | -4.2787 | -4.4086 | -5.5634 | -5.3515 | -5.604 | -5.9321 | -5.627 | -5.9383 | -4.3962 | -5.0574 | -4.5325 | -4.5306 | -4.5033 | -3.8675 | -4.5845 | -4.3277 | -4.2168
Centre-North | -0.44411 | -0.44421 | -0.66405 | -1.0187 | -0.90151 | -1.36 | -1.2315 | -1.0371 | -1.2194 | -1.357 | -1.1156 | -1.3882 | -1.1678 | -1.3865 | -1.2895 | -1.142 | -1.081 | -0.99612 | -1.2236 | -0.95064 | -0.87268 | -0.75303 | -0.83176 | -0.99405 | -1.0074 | -0.78472
Centre-South | -0.74144 | -1.1082 | -1.3628 | -1.9328 | -1.9799 | -2.7429 | -3.0275 | -2.9147 | -2.5524 | -1.8334 | -2.1885 | -2.2231 | -2.1373 | -2.1345 | -2.4859 | -2.7472 | -2.9974 | -2.0446 | -3.3927 | -2.7483 | -2.397 | -2.56 | -2.5785 | -3.4597 | -2.9916 | -2.6923
South | -0.57567 | -0.54944 | -0.66073 | -1.172 | -1.115 | -2.0567 | -2.1219 | -1.9412 | -1.9518 | -1.7089 | -1.6216 | -1.9396 | -1.9378 | -2.1173 | -2.4311 | -2.2918 | -2.4126 | -2.0442 | -2.1193 | -0.8678 | -1.7191 | -1.675 | -1.6181 | -1.0663 | -1.0486 | -0.77752
Calabria | -0.32026 | -0.48389 | -0.49265 | -0.68803 | -0.77546 | -1.0462 | -1.1754 | -1.0191 | -0.76392 | -0.77912 | -0.59131 | -0.59802 | -0.52517 | -0.66052 | -0.64523 | -0.66193 | -0.77021 | -0.48589 | -0.63386 | -0.47844 | -0.48082 | -0.54315 | -0.41717 | -0.90619 | -0.43905 | -0.46167
Sicily | -0.4591 | -0.59215 | -0.67732 | -0.92426 | -0.89635 | -1.1136 | -1.0784 | -1.0031 | -0.79506 | -0.6472 | -0.62116 | -0.6873 | -0.64526 | -0.70585 | -0.92969 | -0.90591 | -1.3306 | -1.0337 | -1.128 | -1.0333 | -0.93919 | -0.92726 | -0.84107 | -1.0617 | -1.0234 | -0.84469
Sardinia | -0.5156 | -0.61699 | -0.78121 | -0.90811 | -0.69577 | -0.57722 | -0.65755 | -0.63003 | -0.49142 | -0.92325 | -0.84275 | -0.88096 | -0.80202 | -0.87044 | -1.0748 | -0.83875 | -0.64251 | -0.38995 | -0.45319 | -0.4587 | -0.28179 | -0.32073 | -0.32925 | -0.3565 | -0.27909 | -0.20319

## 56_ASM_Ex_ante_Vol_alternat
ASM Ex-ante Zonal Volumes (TWh), Alternative Scenario | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Reference | 4.9938 | 5.8241 | 6.8071 | 10.1027 | 10.0707 | 13.4037 | 15.2859 | 13.5164 | 12.8467 | 11.5104 | 11.3816 | 13.2572 | 12.5264 | 13.4269 | 14.7345 | 14.158 | 15.0661 | 11.3044 | 13.9328 | 10.9868 | 11.0941 | 11.1481 | 10.2761 | 12.219 | 10.8837 | 9.7324
Reference | -4.9397 | -5.8086 | -6.8041 | -10.11 | -10.0963 | -13.4227 | -15.3153 | -13.5538 | -12.8649 | -11.5276 | -11.3895 | -13.2806 | -12.5669 | -13.4791 | -14.7884 | -14.2146 | -15.1727 | -11.3907 | -14.0079 | -11.0697 | -11.2212 | -11.2825 | -10.4833 | -12.429 | -11.1169 | -9.9808
Low RES | 5.4632 | 6.3442 | 6.9624 | 8.589 | 9.0058 | 10.9763 | 10.912 | 12.5157 | 9.9197 | 10.2027 | 9.2883 | 9.9636 | 10.5683 | 11.4401 | 11.758 | 12.7968 | 9.4104 | 6.1843 | 12.6108 | 5.1777 | 6.6849 | 8.7699 | 5.9238 | 4.3196 | 4.7698 | 4.8852
Low RES | -5.4076 | -6.2988 | -6.9275 | -8.5822 | -8.9846 | -10.986 | -10.9165 | -12.5351 | -9.943 | -10.2221 | -9.2966 | -9.9772 | -10.6004 | -11.4744 | -11.8015 | -12.8198 | -9.4334 | -6.2184 | -12.6306 | -5.2145 | -6.6978 | -8.7967 | -5.9443 | -4.3504 | -4.8165 | -4.921
High RES | 5.1934 | 6.2719 | 7.8956 | 11.4379 | 11.9328 | 14.4899 | 14.633 | 12.2395 | 12.4173 | 12.8783 | 12.4991 | 14.9892 | 15.8789 | 16.7642 | 15.3416 | 25.7057 | 16.7925 | 20.1149 | 13.2452 | 17.9981 | 18.1448 | 20.1706 | 16.1018 | 15.9799 | 16.3219 | 13.6412
High RES | -5.154 | -6.2481 | -7.9089 | -11.4814 | -11.9492 | -14.5313 | -14.6965 | -12.2705 | -12.4467 | -12.9029 | -12.5297 | -15.0487 | -15.9409 | -16.8463 | -15.5811 | -26.6637 | -17.5407 | -20.5842 | -13.5521 | -18.4162 | -19.1019 | -21.1981 | -17.1503 | -16.9795 | -17.6938 | -14.7708

## 57_ASM_Start_up
Start-up | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 163.1085 | 147.7858 | 142.8929 | 137.608 | 134.4764 | 132.2839 | 129.8099 | 130.0672 | 129.6121 | 129.3025 | 129.4059 | 129.7979 | 129.7006 | 129.6116 | 129.26 | 129.1486 | 127.1618 | 125.3356 | 123.4717 | 121.7198 | 119.8087 | 118.414 | 117.1864 | 115.7212 | 114.4261 | 112.7815
Centre-South | 281.2211 | 266.096 | 261.1043 | 256.3348 | 253.4938 | 252.033 | 249.1534 | 250.0693 | 249.678 | 249.2469 | 249.4357 | 249.6224 | 249.3188 | 249.1743 | 249.3642 | 249.3286 | 247.6775 | 245.8434 | 244.0422 | 242.2914 | 240.3918 | 238.9644 | 237.7473 | 236.2068 | 234.7212 | 233.2123
South | 152.674 | 137.5276 | 132.2873 | 127.7837 | 124.9407 | 123.844 | 120.9424 | 121.0075 | 119.8257 | 119.4062 | 120.1003 | 120.4542 | 121.1535 | 121.064 | 121.2602 | 121.2301 | 119.5476 | 117.7467 | 115.9454 | 114.1947 | 112.295 | 110.8676 | 109.6505 | 108.11 | 106.6245 | 105.1085

## 57_ASM_Shut_down
Shut-down | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 88.347 | 73.0242 | 68.1314 | 62.8465 | 59.7149 | 57.5224 | 55.0484 | 55.3057 | 54.8506 | 54.541 | 54.6444 | 55.0363 | 54.939 | 54.8501 | 54.4985 | 54.3871 | 52.4003 | 50.5741 | 48.7101 | 46.9583 | 45.0472 | 43.6524 | 42.5348 | 40.9597 | 39.7976 | 38.5509
Centre-South | 87.4298 | 72.3047 | 67.313 | 62.5435 | 59.7025 | 58.2417 | 55.3621 | 56.278 | 55.8867 | 55.4556 | 55.6444 | 55.8311 | 55.5275 | 55.3829 | 55.5729 | 55.5373 | 53.8861 | 52.0521 | 50.2509 | 48.5001 | 46.6004 | 45.173 | 43.956 | 42.4155 | 40.9299 | 39.5125
South | 86.8308 | 71.6844 | 66.4441 | 61.9405 | 59.0976 | 58.0008 | 55.0992 | 55.1643 | 53.9825 | 53.563 | 54.2571 | 54.611 | 55.3103 | 55.2208 | 55.4171 | 55.3869 | 53.7044 | 51.9035 | 50.1022 | 48.3515 | 46.4518 | 45.0244 | 43.8073 | 42.2668 | 40.7813 | 39.2653

## 57. Upward regulation
Upward regulation | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 165.0251 | 149.7024 | 144.8096 | 139.5247 | 136.3931 | 134.2005 | 131.7265 | 131.9838 | 131.5288 | 131.2191 | 131.3225 | 131.7145 | 131.6172 | 131.5282 | 131.1767 | 131.0653 | 129.0784 | 127.2522 | 125.3883 | 123.6364 | 121.7254 | 120.3306 | 119.103 | 117.6378 | 116.3427 | 114.6982
Centre-South | 170.6619 | 155.5367 | 150.5451 | 145.7755 | 142.9345 | 141.4738 | 138.5941 | 139.51 | 139.1187 | 138.6876 | 138.8764 | 139.0631 | 138.7595 | 138.615 | 138.8049 | 138.7693 | 137.1182 | 135.2842 | 133.4829 | 131.7321 | 129.8325 | 128.4051 | 127.188 | 125.6475 | 124.162 | 122.653
South | 151.6993 | 136.5529 | 131.3126 | 126.8089 | 123.966 | 122.8692 | 119.9677 | 120.0328 | 118.851 | 118.4315 | 119.1255 | 119.4795 | 120.1788 | 120.0892 | 120.2855 | 120.2553 | 118.5729 | 116.7719 | 114.9707 | 113.2199 | 111.3202 | 109.8929 | 108.6758 | 107.1353 | 105.6497 | 104.1337

## 57. Downward regulation
Downward regulation | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
North | 103.8347 | 88.5119 | 83.6191 | 78.3342 | 75.2026 | 73.0101 | 70.536 | 70.7934 | 70.3383 | 70.0287 | 70.1321 | 70.524 | 70.4267 | 70.3377 | 69.9862 | 69.8748 | 67.888 | 66.0617 | 64.1978 | 62.446 | 60.5349 | 59.1401 | 57.9125 | 56.4473 | 55.1522 | 53.5077
Centre-South | 100.698 | 85.5728 | 80.5812 | 75.8116 | 72.9706 | 71.5099 | 68.6303 | 69.5462 | 69.1548 | 68.7237 | 68.9125 | 69.0992 | 68.7956 | 68.6511 | 68.841 | 68.8055 | 67.1543 | 65.3203 | 63.519 | 61.7683 | 59.8686 | 58.4412 | 57.2241 | 55.6836 | 54.1981 | 52.6891
South | 102.6278 | 87.4814 | 82.2411 | 77.7375 | 74.8946 | 73.7978 | 70.8962 | 70.9613 | 69.7795 | 69.36 | 70.0541 | 70.408 | 71.1073 | 71.0178 | 71.2141 | 71.1839 | 69.5014 | 67.7005 | 65.8992 | 64.1485 | 62.2488 | 60.8214 | 59.6043 | 58.0639 | 56.5783 | 55.0623

## 58_Capex_PV
Capex Utility Scale Tracker (€/kW) | CAPEX
Inverter + Transformer | 80
Module | 150
Tracker | 125
Bos + structure | 290
Other | 392

## 59_Capex_Wind
Capex Utility Scale Wind (€/kW) | CAPEX
Turbine + Inverter | 1106.732
Bop | 242.704
Grid Connection | 165.039